QUESTIONNAIRE

of Input Data for Elaboration of Technical and Economic Assessment for Introduction of Recovery Turbine expander Plant (UTDU) for Generation of Electric Energy at Gas-Distributing Stations and Gas-Distributing Points through Use of Natural Gas Overpressure Energy

- Company name and address  __________________________________

_______________________________________________________________________________

- Pressure in main pipeline with the branch line, МPа _____________________________________

- Gas parameters (for last 12 months or planned):

| Parameters | Months |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| Average gas flow, m³/ h |  |  |  |  |  |  |  |  |  |  |  |  |
| Average gas pressure at gas input to gas-distributing station, MPa (absolute, excessive - indicate) |  |  |  |  |  |  |  |  |  |  |  |  |
| Average gas pressure at output from gas-distributing station, МPа (absolute, excessive - indicate) |  |  |  |  |  |  |  |  |  |  |  |  |
| Average gas temperature at input of gas-distributing station, ºС |  |  |  |  |  |  |  |  |  |  |  |  |
| Average gas temperature at output of gas-distributing station, ºС |  |  |  |  |  |  |  |  |  |  |  |  |

*- gas flow is normalized to:

temperature ___________________0С

pressure ______________________ MPa

- Gas composition at input to gas distribution station (gas distribution point) (mole or volume rating), %

| СН4 | iC4H10 | nC5H12+upper | N2 | and other |
| --- | --- | --- | --- | --- |
| C2H6 | nC4H10 | He | CO2 |  |
| C3H8 | iC5H12 | H2 | H2S |  |

- Gas density at temperature ____________0С and pressure ______________ MPa  , kg/m3	_____

- Heat carrier for natural gas heat (yes/no):

| - heat carrier type (vapor, hot water, quantity of available heat) | __________ |
| --- | --- |
| - pressure/temperature in direct line, MPа/0С | __________ |
| - pressure/temperature in reverse line, МPа/0С | __________ |

- Technical requirements of electrical energy, produces by UTDU:

| Purpose (load type): - work at autonomous load - work at electricity supply network | __________ __________ |
| --- | --- |
| Voltage of generated electrical current (6.3 or 10.5 kV) | __________ |
| Current frequency, Hz | __________ |

8. Necessity to use cold at temperatures level 0 0С – minus 30 0С __________

9. Unit performance (monoblock or built-in): ______________________________

Responsible person:

Position 	______________________________

Name, surname 	______________________________

Signature 	______________

Please, send filled questionnaire to:

davidozm@gmail.com

or davut@ozdemir-engineering.com

+905322959913